## Sheet1
id | name | source | uom | price
BCW_10100 | Building Conduit Wires_1_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 6.79
BCW_10120a | Building Conduit Wires_1.5_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 7.22
BCW_10120b | Building Conduit Wires_1.5_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 9.38
BCW_10140a | Building Conduit Wires_2.5_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 11.08
BCW_10140b | Building Conduit Wires_2.5_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 13.22
BCW_10165b | Building Conduit Wires_4_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 16.97
BCW_10183b | Building Conduit Wires_6_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 20.68
BCW_10200b | Building Conduit Wires_10_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 49.3
BCW_10220a | Building Conduit Wires_16_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 60.74
BCW_10220b | Building Conduit Wires_16_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 64.01
BCW_12200b | Building Conduit Wires_25_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 105.13
BCW_12220b | Building Conduit Wires_35_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 140.54
BCW_12240 | Building Conduit Wires_50_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 177.72
BCW_12260 | Building Conduit Wires_70_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 230.07
BCW_12280 | Building Conduit Wires_95_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 324.36
BCW_12300 | Building Conduit Wires_120_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 447.39
BCW_12320 | Building Conduit Wires_150_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 599.45
BCW_12327 | Building Conduit Wires_185_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 731.01
BCW_12328 | Building Conduit Wires_240_Cu, pvc insulated_ | GenCable Building Conduit Wires | m | 1014.17
BREM_C544330 | DILM9-01(230V50/60HZ) CONTACTOR | Bremca | no | 96.1
BREM_C544530 | DILM12-01(230V50/60HZ) CONTACTOR | Bremca | no | 117.35
BREM_C544594 | DILM15-01(230V50/60HZ) CONTACTOR | Bremca | no | 136.13
BREM_C544930 | DILM25-01(230V50/60HZ) CONTACTOR | Bremca | no | 204.87
BREM_C545130 | DILM32-01(230V50/60HZ) CONTACTOR | Bremca | no | 290.42
BREM_C545230 | DILM40(230V50/60HZ) CONTACTOR | Bremca | no | 344.02
BREM_C545330 | DILM50(230V50/60HZ) CONTACTOR | Bremca | no | 413.45
BREM_C545430 | DILM65(230V50/60HZ) CONTACTOR | Bremca | no | 586.6
BREM_C545530 | DILM80(230V50/60HZ) CONTACTOR | Bremca | no | 720.98
BREM_C545630 | DILM95(230V50/60HZ) CONTACTOR | Bremca | no | 908.54
BREM_S686412 | DOL ENCLOSED BIL-SSR 4.0kw 400V | Bremca | no | 301.94
BREM_S686422 | DOL ENCLOSED BIL-SSR 5.5kw 400V | Bremca | no | 306.35
BREM_S686432 | DOL ENCLOSED BIL-SSR 7.5kw 400V | Bremca | no | 348.33
BREM_S686610 | STAR DELTA UNENCLOSED 7.5KW 230v c/w O/L | Bremca | no | 1009.68
BREM_S686620 | STAR DELTA UNENCLOSED 11KW 230v c/w OL | Bremca | no | 1120.73
BREM_S686630 | STAR DELTA UNENCLOSED 15KW 230v c/w OL | Bremca | no | 1275.61
BREM_S686640 | STAR DELTA UNENCLOSED 22KW 230v c/w O/L | Bremca | no | 1505.3
BREM_S686650 | STAR DELTA UNENCLOSED 30KW 230v c/w O/L | Bremca | no | 1811.87
CCTV_001 | 100 metre Premium pre-terminated CCTV camera cable | CCTV | M | 1.2174
CCTV_046 | Hikvision DS-2CD2342WD-I 4MP, EXIR turret, 2.8mm lens, 12v or PoE (802.3af) | CCTV | NO | 599
CCTV_049 | Hikvision DS-2CD2142FWD-I, 4MP vandal dome, 4mm lens. On board SD recording up to 128GB, 12v or PoE (802.3af), 2688x1520 max resolution @ 20FPS, 30m (approx) smart illuminator, 120dB true WDR. Supports H.264+ | CCTV | NO | 549
CCTV_052 | Hikvision DS-2CD2342WD-I 4MP, EXIR turret, 4mm lens, 12v or PoE (802.3af), 2688x1520 max resolution @ 20FPS, 30m (approx) EXIR smart illuminator. Supports H.264+ | CCTV | NO | 599
CCTV_055 | Hikvision DS-2CD2542FWD-I, 4MP high resolution. On board SD recording up to 128GB, 2.8mm fixed lens, 3D Digital Noise Reduction, 10m IR range (max). Onboard SD card recorder. Supports H264+ | CCTV | NO | 695
CCTV_058 | Hikvision DS-2CD2T42WD-i8, 4MP max resolution, 80M EXIR illuminator, 3DNR | CCTV | NO | 608
CCTV_061 | Hikvision DS-2CD4A26FWD-IZS/P 2MP Low Light ANPR IR | CCTV | NO | 2382
CCTV_064 | Hikvision DS-2CD6412FWD 1.3MP covert camera | CCTV | NO | 1100
CCTV_067 | Hikvision DS-2CE16D5T-AVFIT3, HDTVI 1080P bullet camera, 2.8-12mm, EXIR | CCTV | NO | 575
CCTV_070 | Hikvision DS-2CE16D5T-IR, HDTVI bullet camera 1080P, 3.6mm fixed lens, Indoor/outdoor, IR | CCTV | NO | 349
CCTV_073 | Hikvision DS-2CE56D5T-AVPIR3, 1080P TVI IR Dome Camera, 2.8mm - 12mm vari focal, 40m IR, True day/night | CCTV | NO | 499
CCTV_076 | Hikvision DS-2CE56D5T-IT3, 1080P HDTVI turret camera, 3.6mm lens, EXIR illuminator 40m max | CCTV | NO | 465
CCTV_079 | Hikvision DS-7204HUHI-F2/N, 4 channel 3 way hybrid/HDTVI DVR, 2TB storage | CCTV | NO | 866
CCTV_082 | Hikvision DS-7208HUHI-F2/N, 8x cameras total in any combination of: 8x analog or HDTVI inc up to 2x IP, 3TB storage, HDMI & VGA output, 2x SATA | CCTV | NO | 1399
CCTV_085 | Hikvision DS-7316HQHI-SH, 3 way hybrid HDTVI/analog + up to 2 IP cameras, Total of 16 cameras, 4TB HDD, HDMI/VGA output | CCTV | NO | 2999
CCTV_088 | Hikvision DS-7604NI-E1/4P, 4 Channel NVR, Up to 6MP recording resolution, HDMI with 4K max resolution output, 3TB storage included, 1x SATA interface (up to 4TB max), 4x PoE ports | CCTV | NO | 1350
CCTV_091 | Hikvision DS-7608NI-I2/8P, 8 Channel NVR | CCTV | NO | 1899
CCTV_094 | Hikvision DS-7716NI-I4/16P, 16 Channel NVR with 16 PoE & 3Tb | CCTV | NO | 2995
CCTV_097 | Hikvision DS-7732NI-I4/16P, 32 Channel NVR with 16x PoE, 3Tb storage, HDMI (up to 4K) & VGA output, 4x SATA interfaces | CCTV | NO | 3095
CLIP_0013 | 50mm conduit Conduit & Fittings | Clipsal | m | 31.58
CLIP_0031 | 32mm normal bend Conduit & Fittings | Clipsal | no | 6.25
CLIP_0049 | 32mm inspection tee Conduit & Fittings | Clipsal | no | 8.4
CLIP_0064 | Danger tape In Ground Fittings | Clipsal | m | 0.17
CLIP_0067 | MAGSLAB Cable Cover 150mm x 5mm x 25 mtr roll | Electrical Direct Ltd | roll | 100.44
CLIP_0068 | MAGSLAB Cable Cover 100mm x 5mm x 25mtr roll | Electrical Direct Ltd | roll | 75.6
CLIP_0070 | 100mm pvc duct In Ground Fittings | Clipsal | m | 6.55
CLIP_0073 | 150mm pvc duct In Ground Fittings | Clipsal | m | 12.66
CLIP_0076 | 100mm pvc bend 45 degree In Ground Fittings | Clipsal | m | 32.14
CLIP_0079 | 150mm pvc bend 45 degree In Ground Fittings | Clipsal | m | 33.35
CLIP_0082 | Underground cable sign Danger In Ground Fittings | Clipsal | no | 2.13
CRMP_0013 | 16mm crimp lug | FirstFlex | no | 1.13
CRMP_0025 | 70mm crimp lug | FirstFlex | no | 3.56
CRMP_0028 | 95mm crimp lug | FirstFlex | no | 5.76
CRMP_0034 | 150mm crimp lug | FirstFlex | no | 12.46
CRMP_0040 | 240mm crimp lug | FirstFlex | no | 30.1
CRMP_0046 | 400mm crimp lug | FirstFlex | no | 45.19
CRMP_0052 | 630mm crimp lug | FirstFlex | no | 159.7804
FLEX_32860 | 1.5mm2 3C Standard Ordinary Duty Flexible Cord 250/440V | GenCable Flex | m | 18.97
FPTS_14786 | Flat TPS Cables_1_Cu, pvc insulated_1/core | GenCable Flat TPS Cables | m | 12.89
FPTS_14810 | Flat TPS Cables_1_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 10.39
FPTS_14920 | Flat TPS Cables_1.5_Cu, pvc insulated_1/core | GenCable Flat TPS Cables | m | 13.4
FPTS_14950 | Flat TPS Cables_1.5_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 15.43
FPTS_15080 | Flat TPS Cables_2.5_Cu, pvc insulated_1/core | GenCable Flat TPS Cables | m | 15.14
FPTS_15110 | Flat TPS Cables_2.5_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 26.92
FPTS_15240 | Flat TPS Cables_4_Cu, pvc insulated_1/core | GenCable Flat TPS Cables | m | 21.17
FPTS_15320 | Flat TPS Cables_4_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 40.39
FPTS_15470 | Flat TPS Cables_6_Cu, pvc insulated_1/core | GenCable Flat TPS Cables | m | 28.44
FPTS_15500 | Flat TPS Cables_6_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 52.37
FPTS_15635 | Flat TPS Cables_10_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 100.14
FPTS_15755 | Flat TPS Cables_16_Cu, pvc insulated_2/core | GenCable Flat TPS Cables | m | 102.58
FTPS_14850 | 1.0mm² 2C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 4.85
FTPS_14895 | 1.0mm² 3C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 25.48
FTPS_14980 | 1.5mm² 2C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 6.72
FTPS_15030 | 1.5mm² 3C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 29.84
FTPS_15150 | 2.5mm² 2C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 10.06
FTPS_15190 | 2.5mm² 3C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 43.87
FTPS_15350 | 4mm² 2C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 16.8
FTPS_15410 | 4mm² 3C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 66.29
FTPS_15530 | 6mm² 2C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 20.65
FTPS_15560 | 6mm² 3C+E Flat TPS White_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 86.71
FTPS_15665 | 10mm² 2C+E Flat TPS Black_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 112.34
FTPS_15695 | 10mm² 3C+E Flat TPS Black_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 153.91
FTPS_15785 | 16mm² 2C+E Flat TPS Black_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 150.75
FTPS_15840 | 16mm² 3C+E Flat TPS Black_Copper Conductors, PVC Insulated & Sheathed | GenCable Flat TPS Cables | m | 226.42
GALV_0001 | 20mm Galvanised Steel Conduit x 4M | FirstFlex | m | 15.33
GALV_0004 | 25mm Galvanised Steel Conduit x 4M | FirstFlex | m | 20.4
GALV_0007 | 32mm Galvanised Steel Conduit x 4M | FirstFlex | m | 25.88
GALV_0016 | 20mm Galvanised Plain Bends | FirstFlex | no | 20.54
GALV_0019 | 25mm Galvanised Plain Bends | FirstFlex | no | 25.29
GALV_0022 | 32mm Galvanised Plain Bends | FirstFlex | no | 61.32
GALV_0031 | 20mm Galvanised 2 Way Junction Box | FirstFlex | no | 18.8
GALV_0034 | 25mm Galvanised 2 Way Junction Box | FirstFlex | no | 21.66
GALV_0037 | 32mm Galvanised 2 Way Junction Box | FirstFlex | no | 102.1
Gland_013 | Compression Gland 20.5mm | Compression Glands | no | 18.75
Gland_016 | Compression Gland 26.5mm | Compression Glands | no | 22.5
Gland_019 | Compression Gland 34.5mm | Compression Glands | no | 33.48
Gland_022 | Compression Gland 43.5mm | Compression Glands | no | 52.44
Gland_040 | Grippa Gland 16mm pvc | Compression Glands | no | 3
Gland_046 | Grippa Gland 25mm pvc | Compression Glands | no | 4.87
HPM_1000TM | WE DIMMER MECH 1000W TRAILING WHITE | HPM Trade | no | 230.7329
HPM_2000E | WE LIGHT DIMMER 2000VA WHITE EMC COMPLIANT | HPM Trade | no | 450.2789
HPM_770IM | BEIGE 10AMP INTERM MECH ONLY DPXT 240V | HPM Trade | no | 49.9206
HPM_D770/2PC | WE PERMANENT CONNECTION UNIT WHITE | HPM Trade | no | 22.4392
HPM_r621/1a | CEILING EXHAUST FAN 200mm (8") | HPM Trade | no | 67.514
HPM_R621/2 | R621/2 EXHAUST FAN 250MM (10") | HPM Trade | no | 74.7282
HPM_R621/4S | 100MM LOW PROFILE EXHAUST FAN | HPM Trade | no | 61.9042
HPM_R621/4WA | WINDOW KIT ONLY 100MM EXHAUST FAN | HPM Trade | no | 52.7583
HPM_R621/6D | WALL KIT ONLY 150MM EXHAUST FANS | HPM Trade | no | 24.7857
HPM_R621/6W | **WINDOW KIT 150MM (6") SUITS R621/7 | HPM Trade | no | 28.3982
HPM_R621/8A | EXHAUST FAN 150MM HEAVY DUTY | HPM Trade | no | 149.9256
HPM_WATCF12 | CEILING SWEEP FAN 1200MM | HPM Trade | no | 161.7237
HPM_WATCF13AW | CEILING SWEEP FAN 4 BLADE 1300mm | HPM Trade | no | 133.8056
HPM_WATCF9 | CEILING SWEEP FAN 900MM REVERSIBLE | HPM Trade | no | 228.681
HPM_XL1036 | XL HEAVY DUTY ROCKER SWITCH 1POLE 36A | HPM Trade | no | 29.817
HPM_XL400L | XL DIMMER 400W LEADING EDGE WHITE | HPM Trade | no | 95.301
HPM_XL770/1 | EXCEL STD SWITCH 1GANG | HPM Trade | no | 14.4392
HPM_XL770/2 | EXCEL STD SWITCH 2GANG BEIGE | HPM Trade | no | 25.8444
HPM_XL770/2PC20 | WEWE EXCEL PERM CONNECTION UNIT 20A WHITE | HPM Trade | no | 27.798
HPM_XL770/3 | EXCEL STD SWITCH 3GANG BEIGE | HPM Trade | no | 36.3
HPM_XL770/4 | EXCEL STD SWITCH 4GANG BEIGE | HPM Trade | no | 50.9247
HPM_XL777EL30 | ELECTRESAFE 30MA 10AMP SW/SKT XCEL BLACK | HPM Trade | no | 181.3361
HPM_XL777S | EXCEL DBL HORIZ COMBI SAFETY BEIGE | HPM Trade | no | 31.7707
HPM_XL787S | EXCEL SGL HORIZ COMBI SAFETY BEIGE | HPM Trade | no | 21.3041
LVXLPE_23316 | Low Voltage XLPE_10_Cu, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 57.38
LVXLPE_23430 | Low Voltage XLPE_16_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 82.16
LVXLPE_23450 | Low Voltage XLPE_25_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 92.24
LVXLPE_23470 | Low Voltage XLPE_35_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 121.47
LVXLPE_63140 | Low Voltage XLPE_70_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 28.64
LVXLPE_63160 | Low Voltage XLPE_95_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 33.41
LVXLPE_63180 | Low Voltage XLPE_120_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 46.85
LVXLPE_63220 | Low Voltage XLPE_150_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 52.69
LVXLPE_63250 | Low Voltage XLPE_185_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 59.93
LVXLPE_63290 | Low Voltage XLPE_240_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 74.59
LVXLPE_63330 | Low Voltage XLPE_400_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 129.06
LVXLPE_63380 | Low Voltage XLPE_630_Al, XLPE insulated, PVC sheathed_1/core | GenCable Low Voltage XLPE | m | 198.98
LVXLPE_64630 | Low Voltage XLPE_50_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 157.17
LVXLPE_64650 | Low Voltage XLPE_70_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 229.31
LVXLPE_64670 | Low Voltage XLPE_95_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 301.8
LVXLPE_64690 | Low Voltage XLPE_120_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 384.9
LVXLPE_64710 | Low Voltage XLPE_150_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 460.97
LVXLPE_64750 | Low Voltage XLPE_240_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 732.94
LVXLPE_64770 | Low Voltage XLPE_300_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 1021.68
LVXLPE_64790 | Low Voltage XLPE_400_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 1268.98
LVXLPE_64810 | Low Voltage XLPE_500_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 1563.21
LVXLPE_64830 | Low Voltage XLPE_630_Cu, XLPE insulated, PVC sheathed_ | GenCable Low Voltage XLPE | m | 2014.84
MAR_010 | 100 x 100 Grey MAXI TRUNKING – 4m | MARLEY | m | 60.13
MAR_013 | 150 x 75 Grey MAXI TRUNKING – 4m | MARLEY | m | 64.3675
MAR_037 | 100 x 100 Grey MAXI TRUNKING END PIECE | MARLEY | m | 9.19
NSC_17610 | 16mm² 1C + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 97.08
NSC_17730 | 16mm² 3C + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 190.03
NSC_17910 | 25mm² 2C Xlpe Ins + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 254.83
NSC_17920 | 25mm² 3C Xlpe Ins + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 352.02
NSC_64390 | 35mm² 3C Xlpe Ins + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 575.98
NSC_64420 | 50mm² 3C Xlpe Ins + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 847.36
NSC_64460 | 70mm² 3C Xlpe Ins + Neutral Screen Black_Soft Drawn Copper Conductors, Insulated, Copper Neutral Screen, PVC Sheathed, | GenCable Neutral Screen Cables | m | 1240.34
PDL_00049 | PDL 144 plastic flush box_General accessories | PDL Fittings | no | 2.52
PDL_00055 | PDL 140c concrete f/box 1 gang_General accessories | PDL Fittings | no | 25.41
PDL_00127 | PDL 56 SW110 10a 1P switch_IP56 Accessories - Industrial | PDL Fittings | no | 65
PDL_00140 | PDL 56 SW320 20a 3P switch_IP56 Accessories - Industrial | PDL Fittings | no | 117.08
PDL_00141 | PDL 56SW332 32a 3P sw | PDL Fittings | no | 132.3
PDL_00143 | PDL 56SW350 50a 3P sw | PDL Fittings | no | 152.25
PDL_00146 | PDL 56SW363 63a 3P sw | PDL Fittings | no | 163.8
PDL_00148 | PDL 56CV310 10a comb sw/skt_IP56 Accessories - Industrial | PDL Fittings | no | 139.65
PDL_00154 | PDL 56CV332 32a 3ph sw/skt_IP56 Accessories - Industrial | PDL Fittings | no | 234.15
PDL_00157 | PDL 56CV416 16a 3ph sw/skt - 4 pin_IP56 Accessories - Industrial | PDL Fittings | no | 213.15
PDL_00161 | PDL 56CV520 20a 3 ph sw/skt 5 pin | PDL Fittings | no | 267.75
PDL_00178 | PDL 56E2 2 gang enclosure_IP56 Accessories - Industrial | PDL Fittings | no | 47.46
PDL_00181 | PDL DFB10 10 way Flush Mount Switchboard | PDL Fittings | no | 116.03
PDL_00184 | PDL DFB15 15 way Flush Mount Switchboard | PDL Fittings | no | 143.33
PDL_00187 | PDL DBF30 30 way Flush Mount Switchboard | PDL Fittings | no | 200.03
PDL_00190 | PDL DFB45 45 way Flush Mount Switchboard | PDL Fittings | no | 290.85
PDL_00196 | PDL 15013 Single pole 63A Mains Sw_IP56 Accessories - Industrial | PDL Fittings | no | 25.94
PDL_00199 | PDL 15014 Double pole 63A Mains Sw_IP56 Accessories - Industrial | PDL Fittings | no | 57.44
PDL_00217 | PDL DBS15 15 way Surface Mount Switchboard | PDL Fittings | no | 174.83
PDL_00220 | PDL DBS30 30 way Surface Mount Switchboard | PDL Fittings | no | 229.95
PDL_00223 | PDL DBS45 45 way Surface Mount Switchboard | PDL Fittings | no | 323.4
PDL_00244 | PDL 11355 MCB 10A 1P | PDL Fittings | no | 21.95
PDL_00250 | PDL 11357 MCB 20A 1P | PDL Fittings | no | 21.95
PDL_00256 | PDL 11358 MCB 32A 1P | PDL Fittings | no | 21.95
PDL_00259 | PDL 11359 MCB 40A 1P | PDL Fittings | no | 21.95
PDL_00262 | PDL 23358 30mA 2P 40A | PDL Fittings | no | 114.45
PFAN_ILC100 | Pacific Fans Inline Centrifugal Fan 100mm dia 350m2/hr | Pacific Fans | no | 109.2
PFAN_ILC150 | Pacific Fans Inline Centrifugal Fan 150mm dia 700m2/hr | Pacific Fans | no | 187.2
PFAN_ILC200 | Pacific Fans Inline Centrifugal Fan 200mm dia 900m2/hr | Pacific Fans | no | 197.6
PHIL_BBS478C1XDLED-3000PSD-ECWH | LuxSpace HE Micro, external DALI driver, 3000K, glossy, white | Philips | no | 336
PHIL_BBS478C1XDLED-3000PSU-ECWH | LuxSpace HE Micro, external driver, 3000K, glossy, white | Philips | no | 273
PHIL_BBS488C1XDLED-3000PSD-ECWH | LuxSpace HE Mini, external DALI driver, 3000K, glossy, white | Philips | no | 488.25
PHIL_BBS488C1XDLED-3000PSU-ECWH | LuxSpace HE Mini, external driver, 3000K, glossy, white | Philips | no | 414.75
PHIL_BBS489C1XDLED-3000PSD-ECWH | LuxSpace HE Mini, external DALI driver, 3000K, UGR19 glossy, white | Philips | no | 504
PHIL_BBS489C1XDLED-3000PSU-ECWH | LuxSpace HE Mini, external driver, 3000K, UGR19 glossy, white | Philips | no | 430.5
PHIL_BRIL122010 | Halogen Reflector LV Lamp | Philips | no | 21.39
PHIL_FBS120/118HFP | Europa FBS120 1XPL-C/4P18W/840 HF G CW2 | Philips | no | 248.06
PHIL_FBS120/126HFP | Europa FBS120 1XPL-C/4P26W/840 HF G CW2 | Philips | no | 264.6
PHIL_FBS120/218HFP | Europa FBS120 2XPL-C/4P18W/840 HF G CW2 | Philips | no | 291.72
PHIL_FBS120/226HFP | Europa FBS120 2XPL-C/4P26W/840 HF G CW3 | Philips | no | 329.65
PHIL_FBS122/213HFP | Europa FBS122 2XPL-C/4P13W/840 HF G CW3 | Philips | no | 264.6
PHIL_FCW120K | Philips Pacific bulkhead luminaire FWC120K Amenity Lighting Bulkhead | Philips | no | 256.92
PHIL_GCW216136 | Pacific waterproof polycarbonate cover GCW216 1 36 | Philips | no | 52.32
PHIL_GCW216158 | Pacific waterproof polycarbonate cover GCW216 1 58 | Philips | no | 57.38
PHIL_GCW216218 | Pacific waterproof polycarbonate cover GCW216 2 18 | Philips | no | 43.66
PHIL_GCW216236 | Pacific waterproof polycarbonate cover GCW216 2 36 | Philips | no | 57.38
PHIL_GCW216258 | Pacific waterproof polycarbonate cover GCW216 2 58 | Philips | no | 64.03
PHIL_GMS150236R | e-batten Reflector GMS150236R | Philips | no | 38.59
PHIL_GMS150258R | e-batten Reflector GMS150258R | Philips | no | 46.31
PHIL_GMS150258WG | e-batten Wire Guard GMS150258P | Philips | no | 110.25
PHIL_GMS151128R | e-batten Reflector GMS151 1 28R | Philips | no | 31.97
PHIL_HCS291250MH | HCS291 250W METAL HALIDE KOMBI (body, geartray, lamp) | Philips | no | 388.08
PHIL_HCS291250SON | HCS291 250W SODIUM KOMBI (body, geartray, lamp) | Philips | no | 398.88
PHIL_HCS291400MH | HCS291 400W METAL HALIDE KOMBI (body, geartray, lamp) | Philips | no | 388.08
PHIL_HCS291400SON | HCS291 400W SODIUM KOMBI (body, geartray, lamp) | Philips | no | 437.69
PHIL_HDK108MH400K | Highbay HDK108 400W | Philips | no | 214.99
PHIL_HPI-PLUS250-BUS | LAMP TYPE HPI-PLUS250-BUS METAL HALIDE | Philips | no | 181.91
PHIL_HPI-PLUS400-BUS | LAMP TYPE HPI-PLUS400-BUS METAL HALIDE | Philips | no | 218.3
PHIL_HPL-N250 | LAMP TYPE HPL-N250 MERCURY VAPOUR | Philips | no | 59.43
PHIL_HPL-N400 | LAMP TYPE HPL-N400 MERCURY VAPOUR | Philips | no | 65.49
PHIL_MHNTD70W730 | Double ended metal halide lamp | Philips | no | 115.21
PHIL_PL6100 | Philips Italia PL6100 for TL_E22W lamp | Philips | no | 141.6
PHIL_SGS113 | Philips SGS113 Security Bulkhead SON_I 70W K 230V Lamp included | Philips | no | 479.52
PHIL_SON250 | LAMP TYPE SON250 HIGH PRESSURE SODIUM | Philips | no | 109.15
PHIL_SON400 | LAMP TYPE SON400 HIGH PRESSURE SODIUM | Philips | no | 115.22
PHIL_TBS168236HFEM5 | TBS318 2x36W M5 FTB | Philips | no | 251.48
PHIL_TBS168318HFEM5 | TBS318 3x18W HFE M5 FTB | Philips | no | 227.03
PHIL_TBS168336HFEM5 | TBS318 3x36W HFE M5 FTB | Philips | no | 282.32
PHIL_TBS369236M6 | X-tend TBS369 2XTLD-36W EBP M6 FTB | Philips | no | 276.51
PHIL_TBS369318M6 | X-tend TBS369 3XTLD-18W EBP M6 FTB | Philips | no | 256.14
PHIL_TBS369336M6 | X-tend TBS369 3XTLD-36W EBP M6 FTB | Philips | no | 392.93
PHIL_TCS098236E | Centura TCS160 HF_B Fluoro Fitting 2x36W Aluminium louvre | Philips | no | 231.39
PHIL_TCS098258E | Centura TCS160 HF_B Fluoro Fitting 2x58W Aluminium louvre | Philips | no | 245.94
PHIL_TCS125218O | TCS125 Modella Fluoro Fitting 2 X 18W TLD linear lamps | Philips | no | 195.3
PHIL_TCS125228O840 | Modella TCS1 2xTL5-28W/840 HPF SH O | Philips | no | 260.75
PHIL_TCS125235O840 | Modella TCS1 2xTL5-35W/840 HPF SH O | Philips | no | 269.23
PHIL_TCS125236O | TCS125 Modella Fluoro Fitting 2 X 36W TLD linear lamps | Philips | no | 224.18
PHIL_TCS125249O840 | Modella TCS1 2xTL5-49W/840 HPF SH O | Philips | no | 272.98
PHIL_TCS125254O840 | Modella TCS1 2xTL5-54W/840 HPF SH O | Philips | no | 289.85
PHIL_TCS125258O | TCS125 Modella Fluoro Fitting 2 X 58W TLD linear lamps | Philips | no | 247.28
PHIL_TCW216136E | Pacific waterproof TCW216 1XTL-D36W HFP FU SI | Philips | no | 133.89
PHIL_TCW216158E | Pacific waterproof TCW216 1XTL-D58W HFP FU SI | Philips | no | 140.44
PHIL_TCW216218E | Pacific waterproof TCW216 2XTL-D18W HFP PI IT | Philips | no | 144.07
PHIL_TCW216228E | Pacific waterproof TCW216 2XTL5-28W HFP PI | Philips | no | 232.85
PHIL_TCW216235E | Pacific waterproof TCW216 2XTL5-35W HFP PI | Philips | no | 264.6
PHIL_TCW216236E | Pacific waterproof TCW216 2XTL-D36W HFP FU SI | Philips | no | 155.72
PHIL_TCW216249E | Pacific waterproof TCW216 2XTL5-49W HFP PI | Philips | no | 276.51
PHIL_TCW216254E | Pacific waterproof TCW216 2XTL5-54W HFP PI | Philips | no | 298.34
PHIL_TCW216258E | Pacific waterproof TCW216 2XTL-D58W HFP FU SI | Philips | no | 183.3
PHIL_TCW216258EM | Pacific waterproof TCW216 2XTLD-58W FU Emerg main | Philips | no | 441
PHIL_TL514830 | TL5 Tubular Fluorescent Lamp 14W Warm or Cool White | Philips | no | 22.52
PHIL_TL528830 | TL5 Tubular Fluorescent Lamp 28W Warm or Cool White | Philips | no | 24.26
PHIL_TL535840 | TL5 Tubular Fluorescent Lamp 35W Warm or Cool White | Philips | no | 25.99
PHIL_TL549840 | TL5 Tubular Fluorescent Lamp 49W Warm or Cool White | Philips | no | 31.19
PHIL_TL554830 | TL5 Tubular Fluorescent Lamp 54W Warm or Cool White | Philips | no | 31.19
PHIL_TLD18W830ALTO | 18W FLUORESCENT LAMP | Philips | no | 12.45
PHIL_TLD36W827ALTO | 36W FLUORESCENT LAMP | Philips | no | 15.54
PHIL_TLD58W840ALTO | 58W FLUORESCENT LAMP | Philips | no | 18.68
PHIL_TMS150118HFP | e-battenTM TMS150 1xTL-D18W HF-PCR | Philips | no | 98.12
PHIL_TMS150136HFP | e-battenTM TMS150 1xTL-D36W HF-P | Philips | no | 109.15
PHIL_TMS150158HFP | e-battenTM TMS150 1xTL-D58W HF-P | Philips | no | 120.17
PHIL_TMS150218HFP | e-battenTM TMS150 2xTL-D18W HF-PCR | Philips | no | 109.15
PHIL_TMS150236HFP | e-battenTM TMS150 2xTL-D36W HF-P | Philips | no | 120.17
PHIL_TMS150258HFP | e-battenTM TMS150 2xTL-D58W HF-P | Philips | no | 131.2
PHIL_ZCS690WG | WIRE GUARD FOR HCS291 | Philips | no | 58.43
PHIL_ZPK138GLASS | Highbay HDK108 400W Glass | Philips | no | 66.15
Terminate_001 | Termination minor | Terminations | no | 10.5
Terminate_002 | Termination major | Terminations | no | 26.25
Terminate_003 | Termination P & Seal | Terminations | no | 21
TestComm_001 | Test and Commission | Test Commission | no | 10.5
Trench_002 | Trenching for cables, 600 deep | Trenching | m | 42
Trench_003 | Trenching for cables, domestic/garden type | Trenching | m | 26.25
UNI_0001 | Galv Cable Tray 50mm | Unistrut | m | 16.63
UNI_0002 | Galv Cable Tray 100mm | Unistrut | m | 21.14
UNI_0004 | Galv Cable Tray 150mm | Unistrut | m | 25.78
UNI_0010 | Galv Cable Tray 300mm | Unistrut | m | 40.61
UNI_0013 | Galv Cable Tray 450mm | Unistrut | m | 55.17
UNI_0016 | Galv 90° External or Internal Sweep 50mm | Unistrut | no | 53.02
UNI_0017 | Galv 90° External or Internal Sweep 100mm | Unistrut | no | 54.41
UNI_0019 | Galv 90° External or Internal Sweep 150mm | Unistrut | no | 55.87
UNI_0025 | Galv 90° External or Internal Sweep 300mm | Unistrut | no | 60.04
UNI_0028 | Galv 90° External or Internal Sweep 450mm | Unistrut | no | 79.16
UNI_0031 | Galv 90° Tee 50mm | Unistrut | no | 64
UNI_0032 | Galv 90° Tee 100mm | Unistrut | no | 65.71
UNI_0034 | Galv 90° Tee 150mm | Unistrut | no | 88.32
UNI_0040 | Galv 90° Tee 300mm | Unistrut | no | 121.75
UNI_0043 | Galv 90° Tee 450mm | Unistrut | no | 194.64
UNI_0049 | EP Trunking & Lid75x50 | Unistrut | m | 39.27
UNI_0052 | EP Trunking & Lid100x50 | Unistrut | m | 43.27
UNI_0055 | EP Trunking & Lid100x75 | Unistrut | m | 47.49
UNI_0067 | EP Trunking Horiz Bend Lid Outside75x50 | Unistrut | no | 78.84
UNI_0070 | EP Trunking Horiz Bend Lid Outside100x50 | Unistrut | no | 79.05
UNI_0073 | EP Trunking Horiz Bend Lid Outside100x75 | Unistrut | no | 80.98
UNI_0085 | EP Trunking TEE Lid Horizontal75x50 | Unistrut | no | 78.07
UNI_0088 | EP Trunking TEE Lid Horizontal100x50 | Unistrut | no | 78.2
UNI_0091 | EP Trunking TEE Lid Horizontal100x75 | Unistrut | no | 79.09
UNI_0100 | Galv. Ladder Tray LT3 150mm | Unistrut | m | 34.64
UNI_0103 | Galv. Ladder Tray LT3 300mm | Unistrut | m | 44.7
UNI_0106 | Galv. Ladder Tray LT3 450mm | Unistrut | m | 58.04
UNI_0109 | Galv. Ladder Tray LT3 600mm | Unistrut | m | 72.25
UNI_0112 | Galv. Ladder Tray LT3 Accessory Gussets | Unistrut | no | 61.22
UNI_0115 | Galv. Ladder Tray LT3 Fish Plate | Unistrut | no | 6.17