## Breakdown
Residential
1 House A1
Code | Description | Quantity | UOM | Rate | SubTotal | Factor | Total | Total | Total | Total | GFA Rate | Unit | EA % | Modifier Averages | Auckland | Wellington | Christchurch | Dunedin | Waikato | Rest of NI | Tauranga | User12 | User13 | User14 | User15 | User16 | User17 | User18 | User19
| House, 106m2, modest, single storey, includes garage | [20 empty] | User15: 101; User17: P
CONCRETE SLAB. KITCHEN, BATHROOM, WC. STANDARD QUALITY FITTINGS. 2.4M STUD.
E01 | Site Preparation
E01.02.007 | Site Clearance | 197.69 | m2 | 13.62 | 2692.5378 | 1 |  | 2692.5378 | [6 empty] | 2692.5378 | 2352.511 | 2716.2606 | 2330.7651 | 2388.0952 | 2283.3195 | 0
| TOTAL Site Preparation | 107 | m2 | 25.1639 | 2692.5378 |  |  |  | 2692.5378 |  | 25.1639 |  | 1.4759 |  | 25.1639 | 21.9861 | 25.3856 | 21.7829 | 22.3186 | 21.3394 | 0 | User15: 20; User16: P; User18: 1.4759; User19: 1.5413
E02 | Substructure
Floor Slabs on Grade
E02.05.007 | 100mm thick | 106.79 | m2 | 129.1 | 13786.589 | 1 |  | 13786.589 | [6 empty] | 13786.589 | 11812.0419 | 12858.5839 | 12095.0354 | 11816.3135 | 11401.9683 | 0
Foundations
E02.03.004 | <b>Strip Footing,</b> 25MPa concrete, reinforcing 100kg/m3, formwork, shallow excavation | 2.67 | m3 | 1842.33 | 4919.0211 | 1 |  | 4919.0211 | [6 empty] | 4919.0211 | 4313.2782 | 4666.0386 | 4296.9378 | 4285.4568 | 4220.9229 | 0
Timber Floor Construction
<b>Residential Timber Floor Construction,</b> with timber piles, 2/150mm x 50mm bearers, 150mm x 50mm joists and flooring as follows:
E02.11.010 | Pynefloor™ Green Tongue<s>®</s>, 20mm thick | 106.79 | m2 | 198.8 | 21229.852 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL Substructure | 107 | m2 | 174.8188 | 18705.6101 |  |  |  | 18705.6101 |  | 174.8188 |  | 10.0442 |  | 174.8188 | 150.7039 | 163.7815 | 153.196 | 150.4838 | 146.0083 | 0 | User15: 20; User16: P; User18: 10.0442; User19: 9.944
E03 | Frame
E03.16.025 | <b>Couple-Close Roof, with Underpurlins and Struts,</b> timber rafters and timber purlins
E03.16.028 | 250mm x 50mm/<i>240mm x 45mm rafter at 900mm centres, 100mm x 50mm struts and ties | 127.86 | m2 | 75.38 | 9638.0868 | 1 |  | 9638.0868 | [6 empty] | 9638.0868 | 9496.1622 | 10213.4568 | 9424.5606 | 9606.1218 | 9172.6764 | 0
Timber pitched roof framing. Measured flat overall
| TOTAL Frame | 107 | m2 | 90.0756 | 9638.0868 |  |  |  | 9638.0868 |  | 90.0756 |  | 5.7534 |  | 90.0756 | 88.7492 | 95.4529 | 88.08 | 89.7768 | 85.7259 | 0 | User15: 20; User16: P; User18: 5.7534; User19: 5.7954
E04 | Structural Walls
| Concrete Masonry Walls |  | m | 0 | 0 |  |  | 0
| Concrete Walls |  | m | 0 | 0 |  |  | 0
| Precast Concrete Walls |  | m | 0 | 0 |  |  | 0
| Timber Framed Walls |  | m | 0 | 0 |  |  | 0
| TOTAL Structural Walls |  | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E05 | Upper Floors
Concrete Floors and Roof Slabs
E05.03.211 | <b>Flat Slab System,</b> 25MPa concrete
E05.03.214 | 75mm precast slab, 65mm topping | 106.79 | m2 | 190.39 | 20331.7481 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Proprietary Type Floors and Roof Slabs
<b>Suspended In Situ Concrete Slab on Galvanised Steel Permanent Formwork,</b> 25MPa concrete, 0.7m edge formwork/m2, mesh reinforcing, propping for 28 days
<b>Hibond</b>
E05.03.013 | 0.75mm thick tray, 110mm thick slab | 106.79 | m2 | 175.69 | 18761.9351 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Timber Floors including Flooring
<b>20mm Particle Board on SG8 Timber Framing,</b> lateral supports, nogging to sheet ends and edges
E05.01.016 | 250mm x 50mm joists, 4.4m span | 0 | m2 | 160.14 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL Upper Floors | 0 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
| Structure | [7 empty] | 31036.2347 |  | 290.0583 |  | 17.2735 |  | 290.0583 | 261.4392 | 284.62 | 263.0589 | 262.5793 | 253.0737 | 0 | User15: 21; User16: P; User18: 17.2735; User19: 17.2807
E06 | Roof
Downpipes
PVC
E06.09.067 | 80mm dia pipe, 1 offset/3m drop | 10 | m | 46.95 | 469.5 | 1 |  | 469.5 | [6 empty] | 469.5 | 409.4 | 461.6 | 396.2 | 417.4 | 398.3 | 0
Residential soffit, with 75mm x 40mm framing, 150mm x 40mm fascia, and lining as follows
E06.07.010 | 4.5mm HardieFlex™, 600mm wide | 47.57 | m | 121.03 | 5757.3971 | 1 |  | 5757.3971 | [6 empty] | 5757.3971 | 5061.448 | 6007.1396 | 5138.0357 | 5064.7779 | 4876.4007 | 0
<b>Eaves Gutter or Spouting,</b> with external and internal angles, and downpipe droppers
PVC
E06.08.064 | Marley<s>®</s> Stormcloud or Classic, 125mm | 47.57 | m | 41.75 | 1986.0475 | 1 |  | 1986.0475 | [6 empty] | 1986.0475 | 1747.7218 | 1954.6513 | 1694.4434 | 1779.5937 | 1703.4817 | 0
| Internal Gutters |  | m | 0 | 0 | 1 |  | 0
Roof Covering and Associated Flashings
<b>Sheet Roofing,</b> with wire netting, underlay, insulation and 0.1m of flashing per m2 of roof
E06.01.007 | ZINCALUME<s>®</s> 0.40mm | 133 | m2 | 43.5 | 5785.5 | 1 |  | 5785.5 | [6 empty] | 5785.5 | 5261.48 | 5746.93 | 5156.41 | 5331.97 | 5147.1 | 0
Flat area multiplied by rafter length factor for 15deg pitch, in next level down, C16
| TOTAL Roof | 128 | m2 | 109.3628 | 13998.4446 |  |  |  | 13998.4446 |  | 130.8266 |  | 7.773 |  | 130.8266 | 116.636 | 132.4329 | 115.7485 | 117.6985 | 113.3204 | 0 | User15: 20; User16: P; User18: 7.773; User19: 8.0407
E07 | External Walls and External Finish
Timber Walls with Cladding
<b>Add</b> for insulation and lining to interior face
<b>Timber Framed Wall,</b> as above, and with cladding as indicated below, to exterior face, external and internal angle moulding, edge finishing to openings.
Facing bricks, Monier™ premium range
E07.08.058 | Walls, timber framed | 78 | m2 | 312.55 | 24378.9 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
E07.08.091 | <b>Weatherboards</b>
E07.08.100 | James Hardie Weatherboard, 240mm | 78 | m2 | 220.92 | 17231.76 | 1 |  | 17231.76 | [6 empty] | 17231.76 | 15573.48 | 17982.9 | 15192.84 | 15663.18 | 15032.94 | 0
| TOTAL External Walls and External Finish | 78 | m2 | 220.92 | 17231.76 |  |  |  | 17231.76 |  | 161.0445 |  | 9.6648 |  | 161.0445 | 145.5465 | 168.0645 | 141.9892 | 146.3849 | 140.4948 | 0 | User15: 20; User16: P; User18: 9.6648; User19: 10.204
E08 | Windows and External Doors
<b>Aluminium Windows, Commercial,</b> clear anodised framing
Single glazed windows
E08.01.016 | Sliding, 25% opening | 19.18 | m2 | 673.15 | 12911.017 | 1 |  | 12911.017 | [6 empty] | 12911.017 | 12645.7576 | 12941.8968 | 12602.219 | 12704.4484 | 12597.9994 | 0
E08.01.016 | Sliding, 25% opening | 3.9 | m2 | 673.15 | 2625.285 | 1 |  | 2625.285 | [6 empty] | 2625.285 | 2571.348 | 2631.564 | 2562.495 | 2583.282 | 2561.637 | 0
Entrance Doors
<b>Entrance Door, Panelled,</b> 1980mm x 860mm
E08.05.019 | Cedar | 1 | no | 2295.93 | 2295.93 | 1 |  | 2295.93 | [6 empty] | 2295.93 | 2239.64 | 2300.95 | 2230.69 | 2250.61 | 2227.72 | 0
Door to double garage
E08.06.109 | COLORSTEEL<s>®</s> panelled | 4.9 | m2 | 217.91 | 1067.759 | 1 |  | 1067.759 | [6 empty] | 1067.759 | 1020.278 | 1068.935 | 1012.732 | 1027.138 | 1006.901 | 0
| TOTAL Windows and External Doors | 30 | m2 | 629.9997 | 18899.991 |  |  |  | 18899.991 |  | 176.6354 |  | 11.1655 |  | 176.6354 | 172.6825 | 177.0406 | 172.0387 | 173.5091 | 171.9089 | 0 | User15: 20; User16: P; User18: 11.1655; User19: 10.749
| External Fabric | [7 empty] | 50130.1956 |  | 468.5065 |  | 28.6033 |  | 468.5065 | 434.865 | 477.538 | 429.7763 | 437.5925 | 425.7241 | 0 | User15: 21; User16: P; User18: 28.6033; User19: 28.9937
E09 | Stairs and Balustrades
Stair Flights
E09.01.025 | Flights with one intermediate landing | 0 | m/rise | 3267.09 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balustrades
E09.03.025 | Aluminium, with toughened glass infill |  | m | 315 | 0 | 1 |  | 0
| Handrails | 0 | m | 1.22 | 0 | 1 |  | 0
| TOTAL Stairs and Balustrades | 107 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E10 | Partitions
Timber Framed Walls
<b>Timber Framed Wall,</b> SG8, 2.7m high, studs and dwangs at 600mm centres, DPC to bottom plate.
Note: this rate taken from Ext Walls
E07.08.010 | 100mm x 50mm/<i>90mm x 45mm</i> | 76 | m2 | 59.06 | 4488.56 | 1 |  | 4488.56 | [6 empty] | 4488.56 | 4328.96 | 4657.28 | 4001.4 | 4235.48 | 4151.12 | 0
| TOTAL Partitions | 76 | m2 | 59.06 | 4488.56 |  |  |  | 4488.56 |  | 41.9492 |  | 2.5855 |  | 41.9492 | 40.4576 | 43.526 | 37.3963 | 39.5839 | 38.7955 | 0 | User15: 20; User16: P; User18: 2.5855; User19: 2.6427
E11 | Interior Doors
Timber Doors
<b>Flush Timber Doors</b>
Standard hollow core door, hardboard faced
E11.01.013 | 1980mm x 760mm single door | 11 | no | 1225.97 | 13485.67 | 1 |  | 13485.67 | [6 empty] | 13485.67 | 12710.61 | 13575.87 | 12583.12 | 12888.59 | 12573.11 | 0
E11.01.013 | Deduct for Residential quality hardware | 11 | no | -150 | -1650 | 1 |  | -1650 | [6 empty] | -1650 | -1650 | -1650 | -1650 | -1650 | -1650 | 0
E11.01.016 | 1980mm x 1620mm pair of doors, rebated meeting stiles, two flush bolts | 1 | pr | 1911.39 | 1911.39 | 1 |  | 1911.39 | [6 empty] | 1911.39 | 1776.26 | 1927.77 | 1753.48 | 1808.98 | 1753.37 | 0
E11.01.013 | Deduct for Residential quality hardware | 1 | pr | -200 | -200 | 1 |  | -200 | [6 empty] | -200 | -200 | -200 | -200 | -200 | -200 | 0
| TOTAL Interior Doors | 12 | No | 1128.9217 | 13547.06 |  |  |  | 13547.06 |  | 126.608 |  | 7.7625 |  | 126.608 | 118.1016 | 127.6041 | 116.6972 | 120.0707 | 116.6026 | 0 | User15: 20; User16: P; User18: 7.7625; User19: 7.7475
E12 | Floor Finishes
<b>Carpet</b>
Wool, includes smooth edge and underlay
E12.01.205 | 100% wool, heavy duty, loop pile | 66 | m2 | 57.72 | 3809.52 | 1 |  | 3809.52 | [6 empty] | 3809.52 | 3809.52 | 3809.52 | 3809.52 | 3809.52 | 3809.52 | 0
<b>Tiles, Non-Resilient</b>
Floor tiling, ceramic, porcelain or stone, adhesive fixed, with allowance for coving, at 0.2m per m2
E12.01.091 | Large format tiles, $60/m2 | 14 | m2 | 164.14 | 2297.96 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
<b>Sheet Flooring, Resilient</b>
Vinyl, residential or light commercial quality
E12.01.139 | Tarkett Wega | 14 | m2 | 42.05 | 588.7 | 1 |  | 588.7 | [6 empty] | 588.7 | 588.7 | 588.7 | 588.7 | 588.7 | 588.7 | 0
Flooring to treads and risers of flights with landings
E12.02.037 | Carpet, medium cost, including nosing | 0 | m/rise | 565.87 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL Floor Finishes | 79 | m2 | 55.6737 | 4398.22 |  |  |  | 4398.22 |  | 41.1049 |  | 2.6381 |  | 41.1049 | 41.1049 | 41.1049 | 41.1049 | 41.1049 | 41.1049 | 0 | User15: 20; User16: P; User18: 2.6381; User19: 2.4957
E13 | Wall Finishes
E13.02.004 | Strapping behind Linings | 77 | m2 | 52.26 | 4024.02 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gib Board to Walls
<b>Plasterboard</b>
Plaster Board, F4 finish, fixed to timber framing, with cornice, skirting, external angles and painting
E13.01.013 | Timber Framed Partition | 76 | m2 | 68.45 | 5202.2 | 2 |  | 10404.4 | [6 empty] | 10404.4 | 9171.68 | 10509.28 | 8958.88 | 9354.08 | 8946.72 | 0
E13.01.013 | External Walls | 77 | m2 | 68.45 | 5270.65 | 1 |  | 5270.65 | [6 empty] | 5270.65 | 4646.18 | 5323.78 | 4538.38 | 4738.58 | 4532.22 | 0
Extra value for bathroom wet wall treatment
Aqualine Gib
E13.01.013 | 10mm thick Standard | 23 | m2 | 68.45 | 1574.35 | -1 |  | -1574.35 | [6 empty] | -1574.35 | -1387.82 | -1590.22 | -1355.62 | -1415.42 | -1353.78 | 0
E13.01.016 | 10mm thick Aqualine | 23 | m2 | 77.16 | 1774.68 | 1 |  | 1774.68 | [6 empty] | 1774.68 | 1594.36 | 1857.71 | 1628.4 | 1618.51 | 1560.09 | 0
Insulation Behind Linings
<b>Glasswool Insulation</b> to walls
E13.03.028 | R2.2 | 77 |  | 9.9 | 762.3 | 1 |  | 762.3 | [6 empty] | 762.3 | 696.85 | 763.84 | 686.07 | 706.09 | 677.6 | 0
External wall area minus openings
| TOTAL Wall Finishes | 154 | m2 | 108.0369 | 16637.68 |  |  |  | 16637.68 |  | 155.4923 |  | 9.2017 |  | 155.4923 | 137.5818 | 157.6111 | 135.1038 | 140.2041 | 134.2322 | 0 | User15: 20; User16: P; User18: 9.2017; User19: 9.5694
E14 | Ceiling Finishes
GIB<s>®</s> Standard plasterboard lining:
Stopped to F4 finish, painted
E14.01.028 | 13mm thick | 106.7895 | m2 | 59.32 | 6334.7561 | 1 |  | 6334.7561 | [6 empty] | 6334.7561 | 5683.3398 | 6434.0704 | 5608.5871 | 5767.7036 | 5556.2603 | 0
0
Ceiling Framing
E14.03.004 | <b>Ceiling Joists,</b> at 480 centres
E14.03.013 | 200mm x 50mm/<i>190mm x 45mm</i> | 106.7895 | m2 | 51.33 | 5481.5076 | 1 |  | 5481.5076 | [6 empty] | 5481.5076 | 5554.1245 | 5327.7306 | 4852.5171 | 5628.8772 | 5389.6686 | 0
E14.05.001 | Insulation Behind Linings
E14.05.025 | <b>Glasswool Insulation</b> to ceilings
E14.05.031 | R3.2 | 106.79 |  | 12.83 | 1370.1157 | 1 |  | 1370.1157 | [6 empty] | 1370.1157 | 1233.4245 | 1373.3194 | 1210.9986 | 1252.6467 | 1196.048 | 0
| TOTAL Ceiling Finishes | 107 | m2 | 123.2372 | 13186.3793 |  |  |  | 13186.3793 |  | 123.2372 |  | 7.5233 |  | 123.2372 | 116.5504 | 122.7581 | 109.0851 | 118.2171 | 113.4764 | 0 | User15: 20; User16: P; User18: 7.5233; User19: 7.4533
E15 | Fittings and Fixtures
E15.05.013 | PC Sum for kitchen fitout, budget, low | 1 | no | 8400 | 8400 | 1 |  | 8400 | [6 empty] | 8400 | 8400 | 8400 | 8400 | 8400 | 8400 | 0
E15.05.016 | PC Sum for kitchen fitout, budget, high | 1 | no | 10500 | 10500 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Vanity Units
Rates exclude tapware, waste, trap and piping.
<b>Athena Vanity Unit,</b> Studio Panache, floor standing, coloured, with white acrylic top and basin
E15.05.004 | 900mm, 2 doors, 3 drawers | 1 | no | 2057.57 | 2057.57 | 1 |  | 2057.57 | [6 empty] | 2057.57 | 2035.35 | 2058.11 | 2031.83 | 2038.55 | 2029.09 | 0
| Wardrobe | 5 | No | 0 | 0 | 1 |  | 0
| TOTAL Fittings and Fixtures | 107 | m2 | 97.7343 | 10457.57 |  |  |  | 10457.57 |  | 97.7343 |  | 6.2632 |  | 97.7343 | 97.5266 | 97.7393 | 97.4937 | 97.5565 | 97.4681 | 0 | User15: 20; User16: P; User18: 6.2632; User19: 5.9342
| Interior Finishes | [7 empty] | 62715.4693 |  | 586.1259 |  | 35.9743 |  | 586.1259 | 551.3228 | 590.3436 | 536.881 | 556.7373 | 541.6798 | 0 | User15: 21; User16: P; User18: 35.9743; User19: 35.8427
E16 | Sanitary Plumbing
Hot and Cold Water Supply to Fittings
Rates include 3 fittings per 5m of pipework
<b>Buteline</b>
E16.02.034 | 15mm dia | 29.32 | m | 23 | 674.36 | 1 |  | 674.36 | [6 empty] | 674.36 | 617.7724 | 674.6532 | 608.6832 | 635.0712 | 615.4268 | 0
E16.02.034 | Pipe dropper | 24 | m | 23 | 552 | 1 |  | 552 | [6 empty] | 552 | 505.68 | 552.24 | 498.24 | 519.84 | 503.76 | 0
E16.02.034 | 15mm dia | 12.76 | m | 23 | 293.48 | 1 |  | 293.48 | [6 empty] | 293.48 | 268.8532 | 293.6076 | 264.8976 | 276.3816 | 267.8324 | 0
Incoming Water Supply
Rates include 3 fittings per 5m of pipework
<b>PVC</b>
E16.01.031 | 25mm dia | 4.17 | m | 43.09 | 179.6853 | 1 |  | 179.6853 | [6 empty] | 179.6853 | 165.4656 | 179.6853 | 163.2555 | 169.8441 | 164.9652 | 0
E16.08.001 | Soil, Waste, Overflow and Vent Piping
E16.08.028 | <b>PVC</b>
E16.08.046 | 100mm dia | 0.85 | m | 97.88 | 83.198 | 1 |  | 83.198 | [6 empty] | 83.198 | 74.851 | 83.2065 | 73.525 | 77.3925 | 74.5535 | 0
E16.08.034 | 40mm dia | 10.85 | m | 62.56 | 678.776 | 1 |  | 678.776 | [6 empty] | 678.776 | 615.195 | 678.8845 | 605.3215 | 634.725 | 613.1335 | 0
<b>Gully Trap</b>
E16.08.081 | Gully dish and lid, 100mm, with 300mm dish riser | 2 | no | 217.06 | 434.12 | 1 |  | 434.12 | [6 empty] | 434.12 | 411.54 | 439 | 407.18 | 419.5 | 410.12 | 0
Sanitary Fittings
<b>Bath,</b> acrylic, with bath mixer and trap
E16.07.123 | Clearlite Pacific, 740mm wide | 1 | no | 793 | 793 | 1 |  | 793 | [6 empty] | 793 | 739.23 | 793.07 | 730.79 | 755.65 | 737.4 | 0
<b>Kitchen Sink Insert,</b> SS, double bowl, with sink mixer and trap
E16.07.094 | Franke Compact CP611, budget mixer | 1 | no | 922.78 | 922.78 | 1 |  | 922.78 | [6 empty] | 922.78 | 878.72 | 922.84 | 871.81 | 892.18 | 877.22 | 0
Sink, Vanity and Bench Units
<b>Athena Vanity Unit,</b> Studio Panache, floor standing, coloured, with white acrylic top and basin
E16.07.067 | 900mm, 2 doors, 3 drawers | 1 | no | 2057.57 | 2057.57 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Vanity is also in Fittings and Fixtures, zero rate this one
<b>WC Pan, Floor Mounted,</b> plastic cistern
E16.07.013 | Dux pan, Regent seat and lid, Centreflush cistern | 1 | no | 669.44 | 669.44 | 1 |  | 669.44 | [6 empty] | 669.44 | 639.58 | 669.48 | 634.88 | 648.69 | 638.55 | 0
<b>Robinhood Supertub and Cabinet,</b> ST6000, mains pressure
E16.07.113 | Standard, SS, pressed, 560mm x 450mm | 1 | no | 774.67 | 774.67 | 1 |  | 774.67 | [6 empty] | 774.67 | 728.48 | 775.07 | 721.22 | 740.2 | 723.26 | 0
<b>Acrylic Shower Enclosure,</b> including slide shower mixer and easy clean floor waste
E16.07.085 | 900mm x 900mm, square or angle | 1 | no | 2869.86 | 2869.86 | 1 |  | 2869.86 | [6 empty] | 2869.86 | 2790.73 | 2869.99 | 2778.3 | 2814.9 | 2788.03 | 0
| TOTAL Sanitary Plumbing | 6 | No | 1487.5615 | 8925.3693 |  |  |  | 8925.3693 |  | 83.4147 |  | 5.1634 |  | 83.4147 | 78.842 | 83.4741 | 78.1131 | 80.2278 | 78.6379 | 0 | User15: 20; User16: P; User18: 5.1634; User19: 5.0681
E17 | Mechanical Services | 107 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E18 | Fire Services | 107 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E19 | Electrical Services
Allowance for Electrical Services based on GFA
<b>Residential</b>
E19.22.172 | Individual house, medium standard | 106.7895 | m2 | 30.43 | 3249.606 | 0.5 |  | 1624.803 | [6 empty] | 1624.803 | 1600.7753 | 1648.8306 | 1600.7753 | 1605.0469 | 1605.0469 | 0
E19.22.175 | Individual house, medium standard | 106.7895 | m2 | 56.02 | 5982.3506 | 0.5 |  | 2991.1753 | [6 empty] | 2991.1753 | 2947.3916 | 3035.4929 | 2947.3916 | 2954.8668 | 2954.8668 | 0
average of two rates
<b>Stove,</b> free standing, with 4 plates and grill
E21.13.004 | Lower oven | 1 | no | 1783.95 | 1783.95 | 1 |  | 1783.95 | [6 empty] | 1783.95 | 1783.95 | 1783.95 | 1783.95 | 1783.95 | 1783.95 | 0
| TOTAL Electrical Services | 107 | m2 | 59.8124 | 6399.9283 |  |  |  | 6399.9283 |  | 59.8124 |  | 3.8209 |  | 59.8124 | 59.1787 | 60.4512 | 59.1787 | 59.2884 | 59.2884 | 0 | User15: 20; User16: P; User18: 3.8209; User19: 3.6703
E20 | Vertical and Horizontal Transportation | 107 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E21 | Special Services | 107 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E22 | Drainage
<b>uPVC Sewer Pipe,</b> in complex pipe runs. Includes excavation not exceeding 1500mm deep, with allowance for 12 bends, 5 junctions, 1 stop end and 1 manhole connection per 100m of pipe
Sewer
E22.02.013 | 100mm dia, SN6 | 11.67 | m | 83.7 | 976.779 | 1 |  | 976.779 | [6 empty] | 976.779 | 908.6262 | 976.4289 | 902.4411 | 945.1533 | 932.6664 | 0
Stormwater
E22.02.013 | 100mm dia, SN6 | 11.88 | m | 83.7 | 994.356 | 1 |  | 994.356 | [6 empty] | 994.356 | 924.9768 | 993.9996 | 918.6804 | 962.1612 | 949.4496 | 0
| TOTAL Drainage | 107 | m2 | 18.4218 | 1971.135 |  |  |  | 1971.135 |  | 18.4218 |  | 1.1382 |  | 18.4218 | 17.1365 | 18.4152 | 17.0198 | 17.8254 | 17.5899 | 0 | User15: 20; User16: P; User18: 1.1382; User19: 1.1181
| Services | [7 empty] | 17296.4326 |  | 161.6489 |  | 10.1226 |  | 161.6489 | 155.1572 | 162.3405 | 154.3116 | 157.3416 | 155.5162 | 0 | User15: 21; User16: P; User18: 10.1226; User19: 9.8565
E23 | External Works
E23.03.004 | <b>Insitu Concrete Paving,</b> on 50mm compacted sand bed, 150mm basecourse layer, with broomed finish
E23.03.010 | 100mm thick, reinforced | 10.69 | m2 | 135.05 | 1443.6845 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL External Works | 241 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
E24 | Sundries | 107 | m2 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User18: 0; User19: 0
| External Works & Sundries | [7 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 21; User16: P; User18: 0; User19: 0
| Elements Sub-Total |  | m2 | [5 empty] | 161178.3322 |  | 1506.3396 |  | 91.9736 |  | 1506.3396 | 1402.7841 | 1514.842 | 1384.0277 | 1414.2507 | 1375.9938 | 0 | User18: 91.9736; User19: 91.9736
E25 | Preliminaries | 161178.3322 | % | 4 | 6447.1333 |  |  |  | 6447.1333 |  | 60.2536 |  | 3.6789 |  | 60.2536 | 56.1114 | 60.5937 | 55.3611 | 56.57 | 55.0398 | 0 | User15: 20; User16: P; User18: 3.6789; User19: 3.6789
E26 | Margins | 167625.4655 | % | 3 | 5028.764 |  |  |  | 5028.764 |  | 46.9978 |  | 2.8696 |  | 46.9978 | 43.7669 | 47.2631 | 43.1817 | 44.1246 | 42.931 | 0 | User15: 20; User16: P; User18: 2.8696; User19: 2.8696
E27 | Design/Estimating Contingency | 172654.2295 | % | 1.5 | 2589.8134 |  |  |  | 2589.8134 |  | 24.2039 |  | 1.4778 |  | 24.2039 | 22.5399 | 24.3405 | 22.2386 | 22.7242 | 22.1095 | 0 | User15: 20; User16: P; User18: 1.4778; User19: 1.4778
| Prelim, Margin, Contingency | [9 empty] | 131.4552 |  | 8.0264 |  | 131.4552 | 122.4182 | 132.1972 | 120.7813 | 123.4188 | 120.0802 | 0 | User15: 21; User16: P; User18: 8.0264; User19: 8.0264
[11 empty] | 1637.7948 |  | 100 |  | 1637.7948 | 1525.2023 | 1647.0393 | 1504.8091 | 1537.6696 | 1496.074 | 0 |  |  | -1 | 21 | P |  | 100 | 100
[25 empty] | 23 | P
[25 empty] | 23 | P
[25 empty] | 23 | P
[25 empty] | 23 | P
[25 empty] | 10 | P |  | Chap01.fm
| TOTAL Concrete slab. Kitchen, bathroom, WC. Standard quality fittings. 2.4m stud. |  | $/m2 |  | 175245 |  |  |  |  | 175245 | 1637.7948 |  |  |  | 1637.7948 | 1525.2023 | 1647.0393 | 1504.8091 | 1537.6696 | 1496.074 | 0 | User12: -1; User15: 101-011; User16: 011; User17: P
[16 empty] | 93.1254 | 100.5644 | 91.8802 | 93.8866 | 91.3469 | 0
Roof pitch 15 deg
cheaper WC
[15 empty] | M2 Area1 | M2 Area2 | M2 Area3 | M2 Area4 | M2 Area5 | M2 Area6 | M2 Area7
[14 empty] | 2015Q3 values | 1476 | 1382 | 1551 | 1357 | 1379 | 1484
[14 empty] | % | 0.3399 | 0 | 0 | 0 | 0 | 8.2422
[14 empty] | 2014 values | 1471 | 1382 | 1551 | 1357 | 1379 | 1371
[14 empty] | % | 4.1785 | 0.9496 | 3.469 | 0 | 1.8464 | 2.6966
[14 empty] | 2013 values | 1412 | 1369 | 1499 | 1357 | 1354 | 1335
[14 empty] | % | 2.4673 | 2.1642 | 2.4607 | 2.3379 | 2.8875 | 2.5346
[14 empty] | 2012 values | 1378 | 1340 | 1463 | 1326 | 1316 | 1302
[15 empty] | M2 Area1 | M2 Area2 | M2 Area3 | M2 Area4 | M2 Area5 | M2 Area6 | M2 Area7
[14 empty] | 0 | 1637.8 | 1525.21 | 1647.04 | 1504.81 | 1537.67 | 1496.08 | 0
[15 empty] | 1.8045 | 1.7702 | 1.385 | 1.8119 | 1.607 | 1.6241
[14 empty] | -1 | 1608.77 | 1498.68 | 1624.54 | 1478.03 | 1513.35 | 1472.17
[14 empty] | -2 | 1575.08 | 1469.85 | 1595 | 1447.8 | 1472.72 | 1440.02
[14 empty] | -3 | 1553.45 | 1457.27 | 1583.1 | 1428.71 | 1464.06 | 1441.55
[14 empty] | -4 | 1556.51 | 1460.14 | 1586.22 | 1431.52 | 1466.94 | 1444.39
[14 empty] | -5 | 1530.64 | 1431.83 | 1556.72 | 1404.85 | 1437.61 | 1418.28
| TOTAL FOR BUILDING | [8 empty] | 175245