## CostX
Residential
1 House B1
Code | Description | Quantity | UOM | Rate | SubTotal | Factor | Total | Total | Total | Total | GFA Rate | Unit | EA % | Modifier Averages | Auckland | Wellington | Christchurch | Dunedin | Waikato | Rest of NI | Tauranga | User12 | User13 | User14 | User15 | User16 | User17 | User18 | User19
Dwg A | House, 106m2, modest, single storey, garage | [20 empty] | User15: 101; User17: P
CONCRETE FLOOR SLAB. KITCHEN, BATHROOM, WC. STANDARD QUALITY FITTINGS. 2.4M STUD.
E01 | Site Preparation
E01.02.007 | Site Clearance | 197.69 | m2 | 13.62 | 2692.5378 | 1 |  | 2692.5378 | [6 empty] | 2692.5378 | 2352.511 | 2716.2606 | 2330.7651 | 2388.0952 | 2283.3195 | 0
| TOTAL Site Preparation | 106.79 | m2 | 25.2134 | 2692.5378 |  |  |  | 2692.5378 |  | 25.2135 |  | 1.3696 |  | 25.2135 | 22.0294 | 25.4356 | 21.8258 | 22.3626 | 21.3815 | 0 | User15: 20; User16: P; User19: 1.3696
E02 | Substructure
Floor Slabs on Grade
E02.05.007 | 100mm thick | 106.79 | m2 | 129.1 | 13786.589 | 1 |  | 13786.589 | [6 empty] | 13786.589 | 11812.0419 | 12858.5839 | 12095.0354 | 11816.3135 | 11401.9683 | 0
Foundations
E02.03.004 | <b>Strip Footing,</b> 25MPa concrete, reinforcing 100kg/m3, formwork, shallow excavation | 2.67 | m3 | 1842.33 | 4919.0211 | 1 |  | 4919.0211 | [6 empty] | 4919.0211 | 4313.2782 | 4666.0386 | 4296.9378 | 4285.4568 | 4220.9229 | 0
| TOTAL Substructure | 106.79 | m2 | 175.1626 | 18705.6101 |  |  |  | 18705.6101 |  | 175.1633 |  | 9.3206 |  | 175.1633 | 151.0009 | 164.1043 | 153.4979 | 150.7804 | 146.2961 | 0 | User15: 20; User16: P; User19: 9.3206
E03 | Frame
E03.16.025 | <b>Couple-Close Roof, with Underpurlins and Struts,</b> timber rafters and timber purlins
E03.16.028 | 250mm x 50mm/<i>240mm x 45mm rafter at 900mm centres, 100mm x 50mm struts and ties | 127.86 | m2 | 75.38 | 9638.0868 | 1 |  | 9638.0868 | [6 empty] | 9638.0868 | 9496.1622 | 10213.4568 | 9424.5606 | 9606.1218 | 9172.6764 | 0
Timber pitched roof framing. Measured flat overall
| TOTAL Frame | 106.8 | m2 | 90.2443 | 9638.0868 |  |  |  | 9638.0868 |  | 90.2531 |  | 5.3389 |  | 90.2531 | 88.9241 | 95.641 | 88.2536 | 89.9538 | 85.8949 | 0 | User15: 20; User16: P; User19: 5.3389
E04 | Structural Walls
| Concrete Masonry Walls |  | m | 0 | 0 |  |  | 0
| Concrete Walls |  | m | 0 | 0 |  |  | 0
| Precast Concrete Walls |  | m | 0 | 0 |  |  | 0
| Timber Framed Walls |  | m | 0 | 0 |  |  | 0
| TOTAL Structural Walls |  | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E05 | Upper Floors
Concrete Floors and Roof Slabs
E05.03.211 | <b>Flat Slab System,</b> 25MPa concrete
E05.03.214 | 75mm precast slab, 65mm topping | 106.79 | m2 | 190.39 | 20331.7481 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Proprietary Type Floors and Roof Slabs
<b>Suspended In Situ Concrete Slab on Galvanised Steel Permanent Formwork,</b> 25MPa concrete, 0.7m edge formwork/m2, mesh reinforcing, propping for 28 days
<b>Hibond</b>
E05.03.013 | 0.75mm thick tray, 110mm thick slab | 106.79 | m2 | 175.69 | 18761.9351 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Timber Floors including Flooring
<b>20mm Particle Board on SG8 Timber Framing,</b> lateral supports, nogging to sheet ends and edges
E05.01.016 | 250mm x 50mm joists, 4.4m span | 0 | m2 | 160.14 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL Upper Floors | 0 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
| Structure | [7 empty] | 31036.2347 |  | 290.6299 |  | 16.0291 |  | 290.6299 | 261.9544 | 285.1809 | 263.5773 | 263.0968 | 253.5724 | 0 | User15: 21; User16: P; User19: 16.0291
E06 | Roof
Downpipes
PVC
E06.09.067 | 80mm dia pipe, 1 offset/3m drop | 10 | m | 46.95 | 469.5 | 1 |  | 469.5 | [6 empty] | 469.5 | 409.4 | 461.6 | 396.2 | 417.4 | 398.3 | 0
Residential soffit, with 75mm x 40mm framing, 150mm x 40mm fascia, and lining as follows
E06.07.010 | 4.5mm HardieFlex™, 600mm wide | 47.57 | m | 121.03 | 5757.3971 | 1 |  | 5757.3971 | [6 empty] | 5757.3971 | 5061.448 | 6007.1396 | 5138.0357 | 5064.7779 | 4876.4007 | 0
6
<b>Eaves Gutter or Spouting,</b> with external and internal angles, and downpipe droppers
PVC
E06.08.064 | Marley<s>®</s> Stormcloud or Classic, 125mm | 47.57 | m | 41.75 | 1986.0475 | 1 |  | 1986.0475 | [6 empty] | 1986.0475 | 1747.7218 | 1954.6513 | 1694.4434 | 1779.5937 | 1703.4817 | 0
| Internal Gutters |  | m | 0 | 0 | 1 |  | 0
Roof Covering and Associated Flashings
<b>Concrete Tile Roofing,</b> various profiles, with underlay, hip, ridge and valley flashings
E06.01.203 | Plain colours, single storey, simple roof | 148 | m2 | 60.01 | 8881.48 | 1 |  | 8881.48 | [6 empty] | 8881.48 | 8777.88 | 8884.44 | 8760.12 | 8792.68 | 8748.28 | 0
Flat area multiplied by rafter length factor for 30deg pitch, in next level down, C16
| TOTAL Roof | 127.86 | m2 | 133.6964 | 17094.4246 |  |  |  | 17094.4246 |  | 160.0758 |  | 9.1069 |  | 160.0758 | 149.7942 | 162.0742 | 149.7225 | 150.3373 | 147.2659 | 0 | User15: 20; User16: P; User19: 9.1069
E07 | External Walls and External Finish
Timber Walls with Cladding
<b>Add</b> for insulation and lining to interior face
<b>Timber Framed Wall,</b> as above, and with cladding as indicated below, to exterior face, external and internal angle moulding, edge finishing to openings.
Facing bricks, Monier™ premium range
E07.08.058 | Walls, timber framed | 78 | m2 | 312.55 | 24378.9 | 1 |  | 24378.9 | [6 empty] | 24378.9 | 22634.82 | 24886.68 | 21986.64 | 22962.42 | 22228.44 | 0
150mm Linea™ Weatherboard
E07.08.109 | Walls, timber framed | 78 | m2 | 307.53 | 23987.34 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL External Walls and External Finish | 78 | m2 | 312.55 | 24378.9 |  |  |  | 24378.9 |  | 228.2892 |  | 12.902 |  | 228.2892 | 211.9573 | 233.0442 | 205.8876 | 215.025 | 208.1518 | 0 | User15: 20; User16: P; User19: 12.902
E08 | Windows and External Doors
<b>Aluminium Windows, Commercial,</b> clear anodised framing
Single glazed windows
E08.01.016 | Sliding, 25% opening | 19.18 | m2 | 673.15 | 12911.017 | 1 |  | 12911.017 | [6 empty] | 12911.017 | 12645.7576 | 12941.8968 | 12602.219 | 12704.4484 | 12597.9994 | 0
E08.01.016 | Sliding, 25% opening | 3.9 | m2 | 673.15 | 2625.285 | 1 |  | 2625.285 | [6 empty] | 2625.285 | 2571.348 | 2631.564 | 2562.495 | 2583.282 | 2561.637 | 0
Entrance Doors
<b>Entrance Door, Panelled,</b> 1980mm x 860mm
E08.05.019 | Cedar | 1 | no | 2295.93 | 2295.93 | 1 |  | 2295.93 | [6 empty] | 2295.93 | 2239.64 | 2300.95 | 2230.69 | 2250.61 | 2227.72 | 0
Door to single garage
E08.06.097 | COLORSTEEL<s>®</s> rib design | 4.9 | m2 | 267.56 | 1311.044 | 1 |  | 1311.044 | [6 empty] | 1311.044 | 1247.099 | 1312.612 | 1236.956 | 1256.311 | 1229.116 | 0
| TOTAL Windows and External Doors | 30 | m2 | 638.1092 | 19143.276 |  |  |  | 19143.276 |  | 179.2617 |  | 10.49 |  | 179.2617 | 175.1468 | 179.6714 | 174.4774 | 175.9971 | 174.3286 | 0 | User15: 20; User16: P; User19: 10.49
| External Fabric | [7 empty] | 60616.6006 |  | 567.6267 |  | 32.4989 |  | 567.6267 | 536.8982 | 574.7897 | 530.0874 | 541.3594 | 529.7464 | 0 | User15: 21; User16: P; User19: 32.4989
E09 | Stairs and Balustrades
Stair Flights
E09.01.025 | Flights with one intermediate landing | 0 | m/rise | 3267.09 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balustrades
E09.03.025 | Aluminium, with toughened glass infill |  | m | 315 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Handrails | 0 | m | 1.22 | 0 | 1 |  | 0
| TOTAL Stairs and Balustrades | 106.8 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E10 | Partitions
Timber Framed Walls
<b>Timber Framed Wall,</b> SG8, 2.7m high, studs and dwangs at 600mm centres, DPC to bottom plate.
Note: this rate taken from Ext Walls
E07.08.010 | 100mm x 50mm/<i>90mm x 45mm</i> | 76 | m2 | 59.06 | 4488.56 | 1 |  | 4488.56 | [6 empty] | 4488.56 | 4328.96 | 4657.28 | 4001.4 | 4235.48 | 4151.12 | 0
| TOTAL Partitions | 76 | m2 | 59.06 | 4488.56 |  |  |  | 4488.56 |  | 42.0318 |  | 2.3992 |  | 42.0318 | 40.5373 | 43.6118 | 37.47 | 39.6619 | 38.872 | 0 | User15: 20; User16: P; User19: 2.3992
E11 | Interior Doors
Timber Doors
<b>Flush Timber Doors</b>
Standard hollow core door, hardboard faced
E11.01.013 | 1980mm x 760mm single door | 11 | no | 1225.97 | 13485.67 | 1 |  | 13485.67 | [6 empty] | 13485.67 | 12710.61 | 13575.87 | 12583.12 | 12888.59 | 12573.11 | 0
E11.01.013 | Deduct for Residential quality hardware | 11 | no | -150 | -1650 | 1 |  | -1650 | [6 empty] | -1650 | -1650 | -1650 | -1650 | -1650 | -1650 | -1650
E11.01.016 | 1980mm x 1620mm pair of doors, rebated meeting stiles, two flush bolts | 1 | pr | 1911.39 | 1911.39 | 1 |  | 1911.39 | [6 empty] | 1911.39 | 1776.26 | 1927.77 | 1753.48 | 1808.98 | 1753.37 | 0
E11.01.013 | Deduct for Residential quality hardware | 1 | pr | -200 | -200 | 1 |  | -200 | [6 empty] | -200 | -200 | -200 | -200 | -200 | -200 | -200
| TOTAL Interior Doors | 12 | No | 1128.9217 | 13547.06 |  |  |  | 13547.06 |  | 126.8575 |  | 7.2033 |  | 126.8575 | 118.3343 | 127.8556 | 116.9272 | 120.3074 | 116.8324 | -17.3238 | User15: 20; User16: P; User19: 7.2033
E12 | Floor Finishes
<b>Carpet</b>
Wool, includes smooth edge and underlay
E12.01.205 | 100% wool, heavy duty, loop pile | 66 | m2 | 57.72 | 3809.52 | 1 |  | 3809.52 | [6 empty] | 3809.52 | 3809.52 | 3809.52 | 3809.52 | 3809.52 | 3809.52 | 0
<b>Tiles, Non-Resilient</b>
Floor tiling, ceramic, porcelain or stone, adhesive fixed, with allowance for coving, at 0.2m per m2
E12.01.091 | Large format tiles, $60/m2 | 14 | m2 | 164.14 | 2297.96 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
<b>Sheet Flooring, Resilient</b>
Vinyl, residential or light commercial quality
E12.01.139 | Tarkett Wega | 14 | m2 | 42.05 | 588.7 | 1 |  | 588.7 | [6 empty] | 588.7 | 588.7 | 588.7 | 588.7 | 588.7 | 588.7 | 0
Flooring to treads and risers of flights with landings
E12.02.037 | Carpet, medium cost, including nosing | 0 | m/rise | 565.87 | 0 | 1 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL Floor Finishes | 79 | m2 | 55.6737 | 4398.22 |  |  |  | 4398.22 |  | 41.1859 |  | 2.4481 |  | 41.1859 | 41.1859 | 41.1859 | 41.1859 | 41.1859 | 41.1859 | 0 | User15: 20; User16: P; User19: 2.4481
E13 | Wall Finishes
E13.02.004 | Strapping behind Linings | 77 | m2 | 52.26 | 4024.02 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gib Board to Walls
<b>Plasterboard</b>
Plaster Board, F4 finish, fixed to timber framing, with cornice, skirting, external angles and painting
E13.01.013 | Timber Framed Partition | 76 | m2 | 68.45 | 5202.2 | 2 |  | 10404.4 | [6 empty] | 10404.4 | 9171.68 | 10509.28 | 8958.88 | 9354.08 | 8946.72 | 0
E13.01.013 | External Walls | 77 | m2 | 68.45 | 5270.65 | 1 |  | 5270.65 | [6 empty] | 5270.65 | 4646.18 | 5323.78 | 4538.38 | 4738.58 | 4532.22 | 0
Extra value for bathroom wet wall treatment
Aqualine Gib
E13.01.013 | 10mm thick Standard | 23 | m2 | 68.45 | 1574.35 | -1 |  | -1574.35 | [6 empty] | -1574.35 | -1387.82 | -1590.22 | -1355.62 | -1415.42 | -1353.78 | 0
E13.01.016 | 10mm thick Aqualine | 23 | m2 | 77.16 | 1774.68 | 1 |  | 1774.68 | [6 empty] | 1774.68 | 1594.36 | 1857.71 | 1628.4 | 1618.51 | 1560.09 | 0
Insulation Behind Linings
<b>Glasswool Insulation</b> to walls
E13.03.028 | R2.2 | 77 |  | 9.9 | 762.3 | 1 |  | 762.3 | [6 empty] | 762.3 | 696.85 | 763.84 | 686.07 | 706.09 | 677.6 | 0
External wall area minus openings
| TOTAL Wall Finishes | 231 | m2 | 72.0246 | 16637.68 |  |  |  | 16637.68 |  | 155.7988 |  | 8.5388 |  | 155.7988 | 137.8529 | 157.9217 | 135.3701 | 140.4804 | 134.4968 | 0 | User15: 20; User16: P; User19: 8.5388
E14 | Ceiling Finishes
GIB<s>®</s> Standard plasterboard lining:
Stopped to F4 finish, painted
E14.01.028 | 13mm thick | 106.7895 | m2 | 59.32 | 6334.7561 | 1 |  | 6334.7561 | [6 empty] | 6334.7561 | 5683.3398 | 6434.0704 | 5608.5871 | 5767.7036 | 5556.2603 | 0
0
Ceiling Framing
E14.03.004 | <b>Ceiling Joists,</b> at 480 centres
E14.03.013 | 200mm x 50mm/<i>190mm x 45mm</i> | 106.7895 | m2 | 51.33 | 5481.5076 | 1 |  | 5481.5076 | [6 empty] | 5481.5076 | 5554.1245 | 5327.7306 | 4852.5171 | 5628.8772 | 5389.6686 | 0
E14.05.001 | Insulation Behind Linings
E14.05.025 | <b>Glasswool Insulation</b> to ceilings
E14.05.031 | R3.2 | 106.79 |  | 12.83 | 1370.1157 | 1 |  | 1370.1157 | [6 empty] | 1370.1157 | 1233.4245 | 1373.3194 | 1210.9986 | 1252.6467 | 1196.048 | 0
| TOTAL Ceiling Finishes | 107 | m2 | 123.2372 | 13186.3793 |  |  |  | 13186.3793 |  | 123.4801 |  | 6.9813 |  | 123.4801 | 116.78 | 123.0001 | 109.3 | 118.45 | 113.7 | 0 | User15: 20; User16: P; User19: 6.9813
E15 | Fittings and Fixtures
E15.05.013 | PC Sum for kitchen fitout, budget, low | 1 | no | 8400 | 8400 | 1 |  | 8400 | [6 empty] | 8400 | 8400 | 8400 | 8400 | 8400 | 8400 | 0
E15.05.016 | PC Sum for kitchen fitout, budget, high | 1 | no | 10500 | 10500 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Vanity Units
Rates exclude tapware, waste, trap and piping.
<b>Athena Vanity Unit,</b> Studio Panache, floor standing, coloured, with white acrylic top and basin
E15.05.004 | 900mm, 2 doors, 3 drawers | 1 | no | 2057.57 | 2057.57 | 1 |  | 2057.57 | [6 empty] | 2057.57 | 2035.35 | 2058.11 | 2031.83 | 2038.55 | 2029.09 | 0
| Wardrobe | 5 | No | 0 | 0 | 1 |  | 0
| TOTAL Fittings and Fixtures | 106.8 | m2 | 97.9173 | 10457.57 |  |  |  | 10457.57 |  | 97.9269 |  | 5.812 |  | 97.9269 | 97.7188 | 97.932 | 97.6859 | 97.7488 | 97.6602 | 0 | User15: 20; User16: P; User19: 5.812
| Interior Finishes | [7 empty] | 62715.4693 |  | 587.281 |  | 33.3827 |  | 587.281 | 552.4093 | 591.5069 | 537.939 | 557.8344 | 542.7473 | -17.3238 | User15: 21; User16: P; User19: 33.3827
E16 | Sanitary Plumbing
Hot and Cold Water Supply to Fittings
Rates include 3 fittings per 5m of pipework
<b>Buteline</b>
E16.02.034 | 15mm dia | 29.32 | m | 23 | 674.36 | 1 |  | 674.36 | [6 empty] | 674.36 | 617.7724 | 674.6532 | 608.6832 | 635.0712 | 615.4268 | 0
E16.02.034 | Pipe dropper | 24 | m | 23 | 552 | 1 |  | 552 | [6 empty] | 552 | 505.68 | 552.24 | 498.24 | 519.84 | 503.76 | 0
E16.02.034 | 15mm dia | 12.76 | m | 23 | 293.48 | 1 |  | 293.48 | [6 empty] | 293.48 | 268.8532 | 293.6076 | 264.8976 | 276.3816 | 267.8324 | 0
Incoming Water Supply
Rates include 3 fittings per 5m of pipework
<b>PVC</b>
E16.01.031 | 25mm dia | 4.17 | m | 43.09 | 179.6853 | 1 |  | 179.6853 | [6 empty] | 179.6853 | 165.4656 | 179.6853 | 163.2555 | 169.8441 | 164.9652 | 0
E16.08.001 | Soil, Waste, Overflow and Vent Piping
E16.08.028 | <b>PVC</b>
E16.08.046 | 100mm dia | 0.85 | m | 97.88 | 83.198 | 1 |  | 83.198 | [6 empty] | 83.198 | 74.851 | 83.2065 | 73.525 | 77.3925 | 74.5535 | 0
E16.08.034 | 40mm dia | 10.85 | m | 62.56 | 678.776 | 1 |  | 678.776 | [6 empty] | 678.776 | 615.195 | 678.8845 | 605.3215 | 634.725 | 613.1335 | 0
<b>Gully Trap</b>
E16.08.081 | Gully dish and lid, 100mm, with 300mm dish riser | 2 | no | 217.06 | 434.12 | 1 |  | 434.12 | [6 empty] | 434.12 | 411.54 | 439 | 407.18 | 419.5 | 410.12 | 0
Sanitary Fittings
<b>Bath,</b> acrylic, with bath mixer and trap
E16.07.123 | Clearlite Pacific, 740mm wide | 1 | no | 793 | 793 | 1 |  | 793 | [6 empty] | 793 | 739.23 | 793.07 | 730.79 | 755.65 | 737.4 | 0
<b>Kitchen Sink Insert,</b> SS, double bowl, with sink mixer and trap
E16.07.094 | Franke Compact CP611, budget mixer | 1 | no | 922.78 | 922.78 | 1 |  | 922.78 | [6 empty] | 922.78 | 878.72 | 922.84 | 871.81 | 892.18 | 877.22 | 0
<b>Vanity Basin, VC,</b> Caroma
E16.07.067 | Burns and Ferrall, 550mm x 400mm | 1 | no | 832.84 | 832.84 | 1 |  | 832.84 | [6 empty] | 832.84 | 785.05 | 832.92 | 777.55 | 799.64 | 783.43 | 0
<b>WC Pan, Floor Mounted,</b> plastic cistern
E16.07.010 | Caroma Concorde Smartflush, Deluxe seat | 1 | no | 1070.61 | 1070.61 | 1 |  | 1070.61 | [6 empty] | 1070.61 | 1040.73 | 1070.65 | 1036.04 | 1049.86 | 1039.71 | 0
<b>Robinhood Supertub and Cabinet,</b> ST6000, mains pressure
E16.07.113 | Standard, SS, pressed, 560mm x 450mm | 1 | no | 774.67 | 774.67 | 1 |  | 774.67 | [6 empty] | 774.67 | 728.48 | 775.07 | 721.22 | 740.2 | 723.26 | 0
<b>Acrylic Shower Enclosure,</b> including slide shower mixer and easy clean floor waste
E16.07.085 | 900mm x 900mm, square or angle | 1 | no | 2869.86 | 2869.86 | 1 |  | 2869.86 | [6 empty] | 2869.86 | 2790.73 | 2869.99 | 2778.3 | 2814.9 | 2788.03 | 0
| TOTAL Sanitary Plumbing | 6 | No | 1693.2299 | 10159.3793 |  |  |  | 10159.3793 |  | 95.1346 |  | 5.4611 |  | 95.1346 | 90.1052 | 95.1949 | 89.3047 | 91.6305 | 89.8856 | 0 | User15: 20; User16: P; User19: 5.4611
E17 | Mechanical Services | 106.8 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E18 | Fire Services | 106.8 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E19 | Electrical Services
Allowance for Electrical Services based on GFA
<b>Residential</b>
E19.22.172 | Individual house, medium standard | 106.7895 | m2 | 30.43 | 3249.606 | 0.5 |  | 1624.803 | [6 empty] | 1624.803 | 1600.7753 | 1648.8306 | 1600.7753 | 1605.0469 | 1605.0469 | 0
E19.22.175 | Individual house, medium standard | 106.7895 | m2 | 56.02 | 5982.3506 | 0.5 |  | 2991.1753 | [6 empty] | 2991.1753 | 2947.3916 | 3035.4929 | 2947.3916 | 2954.8668 | 2954.8668 | 0
average of two rates
<b>Stove,</b> free standing, with 4 plates and grill
E21.13.004 | Lower oven | 1 | no | 1783.95 | 1783.95 | 1 |  | 1783.95 | [6 empty] | 1783.95 | 1783.95 | 1783.95 | 1783.95 | 1783.95 | 1783.95 | 0
| TOTAL Electrical Services | 106.8 | m2 | 59.9244 | 6399.9283 |  |  |  | 6399.9283 |  | 59.9303 |  | 3.5456 |  | 59.9303 | 59.2953 | 60.5703 | 59.2953 | 59.4053 | 59.4053 | 0 | User15: 20; User16: P; User19: 3.5456
E20 | Vertical and Horizontal Transportation | 106.8 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E21 | Special Services | 106.8 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E22 | Drainage
<b>uPVC Sewer Pipe,</b> in complex pipe runs. Includes excavation not exceeding 1500mm deep, with allowance for 12 bends, 5 junctions, 1 stop end and 1 manhole connection per 100m of pipe
Sewer
E22.02.013 | 100mm dia, SN6 | 11.67 | m | 83.7 | 976.779 | 1 |  | 976.779 | [6 empty] | 976.779 | 908.6262 | 976.4289 | 902.4411 | 945.1533 | 932.6664 | 0
Stormwater
E22.02.013 | 100mm dia, SN6 | 11.88 | m | 83.7 | 994.356 | 1 |  | 994.356 | [6 empty] | 994.356 | 924.9768 | 993.9996 | 918.6804 | 962.1612 | 949.4496 | 0
| TOTAL Drainage | 106.8 | m2 | 18.4563 | 1971.135 |  |  |  | 1971.135 |  | 18.4581 |  | 1.0562 |  | 18.4581 | 17.1702 | 18.4515 | 17.0534 | 17.8605 | 17.6245 | 0 | User15: 20; User16: P; User19: 1.0562
| Services | [7 empty] | 18530.4426 |  | 173.523 |  | 10.063 |  | 173.523 | 166.5708 | 174.2167 | 165.6534 | 168.8963 | 166.9154 | 0 | User15: 21; User16: P; User19: 10.063
E23 | External Works
E23.03.004 | <b>Insitu Concrete Paving,</b> on 50mm compacted sand bed, 150mm basecourse layer, with broomed finish
E23.03.010 | 100mm thick, reinforced | 10.69 | m2 | 135.05 | 1443.6845 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL External Works | 241 | m2 | 0 | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
E24 | Sundries | 106.8 | m2 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 20; User16: P; User19: 0
| External Works & Sundries | [7 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | User15: 21; User16: P; User19: 0
| Elements Sub-Total |  | m2 | [5 empty] | 172898.7472 |  | 1619.0606 |  | 91.9736 |  | 1619.0606 | 1517.8326 | 1625.6942 | 1497.2571 | 1531.1869 | 1492.9815 | -17.3238 | User19: 91.9736
E25 | Preliminaries | 172898.7472 | % | 4 | 6915.9499 |  |  |  | 6915.9499 |  | 64.7624 |  | 3.6789 |  | 64.7624 | 60.7133 | 65.0278 | 59.8903 | 61.2475 | 59.7193 | -0.69295 | User15: 20; User16: P; User19: 3.6789
E26 | Margins | 179814.6971 | % | 3 | 5394.4409 |  |  |  | 5394.4409 |  | 50.5147 |  | 2.8696 |  | 50.5147 | 47.3564 | 50.7217 | 46.7144 | 47.773 | 46.581 | -0.5405 | User15: 20; User16: P; User19: 2.8696
E27 | Design/Estimating Contingency | 185209.138 | % | 1.5 | 2778.1371 |  |  |  | 2778.1371 |  | 26.0151 |  | 1.4778 |  | 26.0151 | 24.3885 | 26.1217 | 24.0579 | 24.6031 | 23.9892 | -0.27836 | User15: 20; User16: P; User19: 1.4778
| Prelim, Margin, Contingency | [9 empty] | 141.2922 |  | 8.0264 |  | 141.2922 | 132.4582 | 141.8711 | 130.6626 | 133.6236 | 130.2895 | -1.5118 | User15: 21; User16: P; User19: 8.0264
| Building Total |  | m2 | [7 empty] | 1760.3527 |  | 100 |  | 1760.3527 | 1650.2909 | 1767.5653 | 1627.9197 | 1664.8105 | 1623.271 | -18.8356 | User14: -1; User15: 21; User16: P; User19: 100
[25 empty] | 23 | P
[25 empty] | 23 | P
[25 empty] | 23 | P
[25 empty] | 23 | P
[25 empty] | 10 | P |  | Chap01.fm
| TOTAL Concrete floor slab. Kitchen, bathroom, WC. Standard quality fittings. 2.4m stud. |  | $/m2 |  | 187987.2751 |  |  |  |  | 187987.2751 | 1760.3527 |  |  |  | 1760.3527 | 1650.2909 | 1767.5653 | 1627.9197 | 1664.8105 | 1623.271 | -18.8356 | User12: -1; User15: 101-011; User16: 011; User17: P
[16 empty] | 93.7477 | 100.4097 | 92.4769 | 94.5726 | 92.2128 | -1.07
| TOTAL FOR BUILDING | [8 empty] | 187987.2751